## eGo 100
#	date	name_of_run	scenario	variation_1	variation_2	objective	rel_diff	lcoe	rel_diff	..exo	share of total	..endo	...disp	...stor	lcoe_de	rel_diff	..exo	share of total	..endo	...disp	...stor	solver_time[min]	total_re_share	bio	gas	geo	reser	ror	pv	off	on	re_share_de	bio	reser	ror	pv	off	on	ext_storage_cap	rel_diff	total_costs_ext_storage	rel_diff	storage cost share	battery_cap	battery_share	no_battery	avg_battery_cap	hydrogen_cap	hydrogen_share	no_hydrogen	avg_hydrogen_cap	charging_new	rel_diff	discharging_new	rel_diff	charging exist	rel_diff	discharging_exist	rel_diff	discharge/charge ratio	stor. Losses of total load	total_curtailment	rel_diff	total_curtailment_DE	rel_diff	off_curtailment	rel_diff	off_curtailment_DE	rel_diff	on_curtailment	rel_diff	on_curtailment_DE	rel_diff					re_share_de	bio	reser	ror	pv	off	on		bio	reser	ror	pv	off	on
base case	base cases
1	2019-11-11	ego	eGo100	None	None	9413211168	-	56.23	-	50.25	89.37%	5.98	5.74	0.24	43.66	-	37.62	86.17%	6.04	5.3	0.74	1853	104.6	17.25	0	0	9.14	9.89	16.86	12.75	34.12	86.45	19.36	0.11	3.89	20.71	18.31	37.63	7982	-	372792260	-	4.0%	2655	33.3%	9	295	5327	66.7%	10	533	-30.93		15.41		-167.53		110.77		63.58%	4.39%	19.84	-	19.15	-	37.45	-	33.04	-	17.06	-	17.8	-					86.45	19.36	0.11	3.89	20.71	18.31	37.63	100.01	16.74	0.10	3.36	17.90	15.83	32.53	8645.00%
storage parameters	storage parameters					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
2	2019-11-13	ego-5	eGo100	-5% storage costs	None	9393374481	-0.21%	56.22	-0.02%	50.25	89.38%	5.97	5.71	0.25	43.66	0.00%	37.62	86.17%	6.04	5.25	0.79	2223	104.7	17.14	0	0	9.13	9.88	16.85	12.85	34.14	86.87	19.06	0.1	3.87	20.64	18.64	37.68	9029	13.1%	400593470	7.5%	4.3%	3002	33.2%	9	334	6027	66.8%	11	548	-34.58	11.8%	17.21	11.7%	-166.74	-0.5%	110.28	-0.4%	63.33%	4.48%	19.6	-1.2%	18.42	-3.8%	36.88	-1.5%	31.5	-4.7%	16.91	-0.9%	17.28	-2.9%					86.87	19.06	0.1	3.87	20.64	18.64	37.68	99.99	16.56	0.09	3.36	17.93	16.19	32.74
3	2019-11-16	ego-10	eGo100	-10% storage costs	None	9370977882	-0.45%	56.21	-0.04%	50.25	89.40%	5.95	5.68	0.27	43.65	-0.02%	37.62	86.19%	6.03	5.19	0.84	3322	104.8	17.03	0	0	9.12	9.87	16.84	12.95	34.18	87.28	18.76	0.1	3.85	20.58	18.96	37.74	10141	27.0%	426233754	14.3%	4.5%	3389	33.4%	10	339	6752	66.6%	12	563	-38.23	23.6%	19.01	23.4%	-166.02	-0.9%	109.83	-0.8%	63.08%	4.57%	19.37	-2.4%	17.69	-7.6%	36.32	-3.0%	29.99	-9.2%	16.75	-1.8%	16.75	-5.9%					87.28	18.76	0.1	3.85	20.58	18.96	37.74	99.99	16.38	0.09	3.36	17.96	16.55	32.94
4	2019-11-17	ego-20	eGo100	-20% storage costs	None	9317943695	-1.01%	56.17	-0.11%	50.25	89.46%	5.92	5.62	0.3	43.62	-0.09%	37.62	86.24%	6	5.07	0.94	1168	105.02	16.81	0	0	9.1	9.84	16.83	13.19	34.24	88.17	18.14	0.1	3.82	20.44	19.63	37.86	12662	58.6%	472939111	26.9%	5.1%	4271	33.7%	14	305	8391	66.3%	12	699	-46.32	49.8%	23	49.3%	-164.22	-2.0%	108.73	-1.8%	62.57%	4.77%	18.85	-5.0%	16.15	-15.7%	35.04	-6.4%	26.75	-19.0%	16.43	-3.7%	15.64	-12.1%					88.17	18.14	0.1	3.82	20.44	19.63	37.86	99.99	16.00	0.09	3.37	18.02	17.31	33.38
5	2019-11-19	ego-30	eGo100	-30% storage costs	None	9251686161	-1.72%	56.13	-0.18%	50.25	89.52%	5.88	5.55	0.33	43.58	-0.18%	37.62	86.32%	5.96	4.94	1.03	1300	105.23	16.56	0	0	9.08	9.82	16.82	13.38	34.33	89.03	17.51	0.1	3.79	20.33	20.21	38.07	15897	99.2%	518478615	39.1%	5.6%	5835	36.7%	20	292	10061	63.3%	12	838	-55.42	79.2%	28.03	81.9%	-164.15	-2.0%	107.38	-3.1%	62.24%	4.96%	18.33	-7.6%	14.61	-23.7%	33.95	-9.3%	23.87	-27.8%	16.03	-6.0%	14.35	-19.4%					89.03	17.51	0.1	3.79	20.33	20.21	38.07	100.01	15.59	0.09	3.37	18.10	17.99	33.89
6	2019-11-29	ego-40	eGo100	-40% storage costs	None	9168761145	-2.60%	56.08	-0.27%	50.25	89.60%	5.82	5.47	0.35	43.51	-0.34%	37.62	86.46%	5.89	4.79	1.1	3356	105.45	16.3	0	0	9.06	9.81	16.81	13.56	34.46	89.9	16.83	0.1	3.75	20.21	20.79	38.32	19904	149.4%	555015393	48.9%	6.1%	8028	40.3%	30	268	11876	59.7%	16	742	-65.48	111.7%	33.82	119.5%	-159.43	-4.8%	105.55	-4.7%	61.97%	5.15%	17.79	-10.3%	12.99	-32.2%	32.93	-12.1%	20.93	-36.7%	15.56	-8.8%	12.94	-27.3%					89.9	16.83	0.1	3.75	20.21	20.79	38.32	100	15.13	0.09	3.37	18.17	18.69	34.45
7	2019-11-30	ego-50	eGo100	-50% storage costs	None	9063913786	-3.71%	56.01	-0.39%	50.25	89.72%	5.76	5.38	0.38	43.48	-0.41%	37.62	86.52%	5.77	4.6	1.17	2182	105.64	16	0	0	9.05	9.78	16.83	13.74	34.6	90.66	16	0.1	3.72	20.14	21.26	38.77	25566	220.3%	591599435	58.7%	6.5%	11846	46.3%	38	312	13720	53.7%	18	762	-77.61	150.9%	41.6	170.0%	-155.28	-7.3%	102.62	-7.4%	61.93%	5.33%	17.2	-13.3%	11.31	-40.9%	31.88	-14.9%	18.44	-44.2%	15.04	-11.8%	11.16	-37.3%					90.66	16	0.1	3.72	20.14	21.26	38.77	99.99	14.51	0.09	3.37	18.26	19.28	35.15
8	2019-12-16	ego-60	eGo100	-60% storage costs	None	9158156919	-2.71%	56.07	-0.28%	50.25	89.62%	5.82	5.38	0.44	43.13	-1.21%	37.62	87.22%	5.52	4.15	1.36	1225	105.93	15.95	0	0	9.02	9.76	16.82	13.69	34.77	90.66	14.45	0.1	3.71	20.19	21.96	39.59	37597	371.0%	689453599	84.9%	7.5%	22479	59.8%	54	416	15118	40.2%	18	840	-97.42	215.0%	53.39	246.5%	-146.93	-12.3%	97.75	-11.8%	61.85%	5.59%	16.84	-15.1%	9.58	-50.0%	31.99	-14.6%	15.77	-52.3%	14.39	-15.7%	9.29	-47.8%					90.66	14.45	0.1	3.71	20.19	21.96	39.59	100	13.10	0.09	3.36	18.30	19.91	35.89
9	2019-12-19	ego-70	eGo100	-70% storage costs	None	8897001616	-5.48%	55.91	-0.57%	50.25	89.88%	5.65	5.32	0.33	43.08	-1.33%	37.62	87.33%	5.46	4.43	1.04	1982	105.79	15.79	0	0	9.03	9.78	16.84	13.63	34.92	90.58	15.42	0.1	3.73	20.15	20.86	39.74	38145	377.9%	524644025	40.7%	5.9%	22799	59.8%	63	362	15347	40.2%	19	808	-98.3	217.8%	55.32	259.0%	-141.1	-15.8%	93.15	-15.9%	62.02%	5.46%	16.8	-15.3%	10.75	-43.9%	32.34	-13.6%	20.05	-39.3%	14.14	-17.1%	9.04	-49.2%					90.58	15.42	0.1	3.73	20.15	20.86	39.74	100	13.97	0.09	3.38	18.25	18.89	36.00
10	2019-12-19	ego-80	eGo100	-80% storage costs	None	8739625032	-7.16%	55.81	-0.75%	50.25	90.04%	5.55	5.23	0.32	42.57	-2.50%	37.62	88.37%	4.95	3.94	1.01	1163	105.97	15.49	0	0	9.02	9.77	16.88	13.71	35.13	91.3	13.62	0.1	3.7	20.25	21.91	40.41	56157	603.5%	511543776	37.2%	5.9%	38785	69.1%	80	485	17372	30.9%	21	827	-117.8	280.9%	70.27	356.0%	-134.95	-19.4%	88.76	-19.9%	62.92%	5.62%	16.24	-18.1%	8.01	-58.2%	31.86	-14.9%	15.35	-53.5%	13.47	-21.0%	6.76	-62.0%					91.3	13.62	0.1	3.7	20.25	21.91	40.41	99.99	12.44	0.09	3.38	18.49	20.01	36.90
11	2019-12-20	ego-90	eGo100	-90% storage costs	None	8409667926	-10.66%	55.6	-1.12%	50.25	90.38%	5.34	5.13	0.22	42.4	-2.89%	37.62	88.73%	4.78	4.11	0.67	1666	105.95	15.19	0	0	9.02	9.77	16.9	13.95	35.17	91.45	14.18	0.1	3.71	20.17	21.67	40.17	75027	840.0%	339692053	-8.9%	4.0%	58089	77.4%	85	683	16939	22.6%	18	941	-129.91	320.0%	79.76	417.6%	-122.92	-26.6%	79.53	-28.2%	63.00%	5.61%	15.88	-20.0%	8.48	-55.7%	30.67	-18.1%	16.15	-51.1%	13.4	-21.5%	7.15	-59.8%					91.45	14.18	0.1	3.71	20.17	21.67	40.17	100	12.97	0.09	3.39	18.45	19.82	36.74
12	2019-11-15	ego+5	eGo100	+5% storage costs	None	9430749295	0.19%	56.24	0.02%	50.25	89.35%	5.99	5.77	0.22	43.66	0.00%	37.62	86.17%	6.04	5.36	0.68	2762	104.51	17.35	0	0	9.14	9.89	16.86	12.66	34.09	86.08	19.65	0.11	3.9	20.78	17.97	37.59	7040	-11.8%	345218370	-7.4%	3.7%	2337	33.2%	9	260	4703	66.8%	8	588	-27.57	-10.9%	13.74	-10.8%	-168.15	0.4%	111.13	0.3%	63.80%	4.31%	20.05	1.1%	19.82	3.5%	37.95	1.3%	34.55	4.6%	17.2	0.8%	18.22	2.4%					86.08	19.65	0.11	3.9	20.78	17.97	37.59	100	16.91	0.09	3.36	17.89	15.47	32.36
13	2019-11-17	ego+10	eGo100	+10% storage costs	None	9446234800	0.35%	56.25	0.04%	50.25	89.33%	6	5.8	0.2	43.65	-0.02%	37.62	86.19%	6.04	5.41	0.63	1713	104.42	17.45	0	0	9.15	9.9	16.87	12.55	34.07	85.74	19.91	0.11	3.92	20.84	17.66	37.57	6202	-22.3%	318556730	-14.5%	3.4%	2082	33.6%	8	260	4120	66.4%	7	589	-24.45	-21.0%	12.2	-20.8%	-168.72	0.7%	111.48	0.6%	64.03%	4.23%	20.26	2.1%	20.42	6.6%	38.51	2.8%	35.94	8.8%	17.31	1.5%	18.59	4.4%					85.74	19.91	0.11	3.92	20.84	17.66	37.57	100.01	17.07	0.09	3.36	17.87	15.14	32.21
14	2019-11-21	ego+20	eGo100	+20% storage costs	None	9472149789	0.63%	56.27	0.07%	50.25	89.30%	6.02	5.84	0.18	43.67	0.02%	37.62	86.15%	6.05	5.49	0.56	3840	104.3	17.58	0	0	9.16	9.92	16.88	12.42	34.03	85.3	20.31	0.11	3.94	20.92	17.21	37.51	5058	-36.6%	283356569	-24.0%	3.0%	1718	34.0%	8	215	3340	66.0%	7	477	-20.17	-34.8%	10.11	-34.4%	-169.3	1.1%	111.83	1.0%	64.36%	4.11%	20.56	3.6%	21.27	11.1%	39.23	4.8%	37.9	14.7%	17.5	2.6%	19.14	7.5%					85.3	20.31	0.11	3.94	20.92	17.21	37.51	100	17.32	0.09	3.36	17.84	14.68	32.00
15	2019-11-21	ego+30	eGo100	+30% storage costs	None	9493009833	0.85%	56.28	0.09%	50.25	89.29%	6.03	5.88	0.15	43.64	-0.05%	37.62	86.21%	6.03	5.56	0.47	2677	104.15	17.74	0	0	9.18	9.93	16.89	12.27	34	84.75	20.71	0.11	3.96	21.03	16.75	37.44	3905	-51.1%	236483972	-36.6%	2.5%	1443	37.0%	8	180	2462	63.0%	6	410	-15.52	-49.8%	7.96	-48.3%	-169.64	1.3%	112.03	1.1%	64.80%	3.98%	20.9	5.3%	22.22	16.0%	40.06	7.0%	39.95	20.9%	17.7	3.8%	19.81	11.3%					84.75	20.71	0.11	3.96	21.03	16.75	37.44	100	17.55	0.09	3.36	17.82	14.20	31.73
16	2019-11-28	ego+40	eGo100	+40% storage costs	None	9509302230	1.02%	56.29	0.11%	50.25	89.27%	6.04	5.9	0.14	43.64	-0.05%	37.62	86.21%	6.02	5.6	0.42	3085	104.05	17.83	0	0	9.19	9.94	16.9	12.17	33.97	84.35	20.96	0.11	3.98	21.11	16.45	37.39	3288	-58.8%	213620253	-42.7%	2.2%	1401	42.6%	7	200	1887	57.4%	6	315	-12.68	-59.0%	6.77	-56.1%	-169.68	1.3%	112.06	1.2%	65.16%	3.88%	21.12	6.5%	22.85	19.3%	40.58	8.4%	41.28	24.9%	17.86	4.7%	20.28	13.9%					84.35	20.96	0.11	3.98	21.11	16.45	37.39	100	17.68	0.09	3.36	17.81	13.88	31.54
17	2019-11-30	ego+50	eGo100	+50% storage costs	None	9523669278	1.17%	56.3	0.12%	50.25	89.25%	6.05	5.92	0.13	43.64	-0.05%	37.62	86.21%	6.03	5.63	0.39	2081	103.95	17.9	0	0	9.19	9.95	16.91	12.1	33.94	84.01	21.17	0.11	4	21.17	16.22	37.32	2868	-64.1%	198367162	-46.8%	2.1%	1494	52.1%	5	299	1374	47.9%	6	229	-10.44	-66.2%	5.97	-61.3%	-169.53	1.2%	111.98	1.1%	65.54%	3.79%	21.3	7.4%	23.4	22.2%	41	9.5%	42.34	28.1%	18.01	5.6%	20.76	16.6%					84.01	21.17	0.11	4	21.17	16.22	37.32	99.99	17.79	0.09	3.36	17.79	13.63	31.36
18	2020-01-06	ego+60	eGo100	+60% storage costs	None	9535517184	1.30%	56.31	0.14%	50.25	89.24%	6.06	5.95	0.11	43.63	-0.07%	37.62	86.23%	6.01	5.67	0.34	3040	103.85	18	0	0	9.2	9.95	16.93	12.01	33.9	83.67	21.41	0.11	4.01	21.24	15.94	37.29	2333	-70.8%	170724023	-54.2%	1.8%	1467	62.9%	5	293	866	37.1%	5	173	-7.8	-74.8%	4.86	-68.5%	-169.47	1.2%	111.94	1.1%	65.89%	3.70%	21.51	8.4%	23.97	25.2%	41.48	10.8%	43.55	31.8%	18.17	6.5%	21.15	18.8%					83.67	21.41	0.11	4.01	21.24	15.94	37.29	100	17.91	0.09	3.36	17.77	13.34	31.20
19	2019-12-28	ego+70	eGo100	+70% storage costs	None	9627558672	2.28%	56.37	0.25%	50.25	89.14%	6.12	5.98	0.14	43.54	-0.27%	37.62	86.40%	5.92	5.5	0.42	2864	103.74	18.11	0	0	9.21	9.97	16.91	11.83	33.95	83.54	20.79	0.11	4.02	20.92	16.8	37.37	2708	-66.1%	213209422	-42.8%	2.2%	1231	45.5%	9	137	1477	54.5%	6	246	-10.63	-65.6%	5.58	-63.8%	-162	-3.3%	108.32	-2.2%	65.98%	3.60%	21.77	9.7%	23.46	22.5%	42.41	13.2%	40.61	22.9%	18.13	6.3%	21.11	18.6%					83.54	20.79	0.11	4.02	20.92	16.8	37.37	100.01	17.37	0.09	3.36	17.47	14.03	31.22
20	2020-01-08	ego+80	eGo100	+80% storage costs	None	9556250619	1.52%	56.32	0.16%	50.25	89.22%	6.07	5.95	0.12	43.68	0.05%	37.62	86.13%	6.06	5.7	0.36	2624	103.83	18.02	0	0	9.2	9.95	16.93	12	33.89	83.62	21.51	0.11	4.02	21.25	15.88	37.23	2221	-72.2%	182492751	-51.0%	1.9%	1466	66.0%	6	244	755	34.0%	5	151	-7.28	-76.5%	4.66	-69.8%	-169.37	1.1%	111.89	1.0%	65.98%	3.68%	21.55	8.6%	24.13	26.0%	41.54	10.9%	43.81	32.6%	18.23	6.9%	21.32	19.8%					83.62	21.51	0.11	4.02	21.25	15.88	37.23	100	17.99	0.09	3.36	17.77	13.28	31.13
21	2020-01-12	ego+90	eGo100	+90% storage costs	None	9566203277	1.63%	56.33	0.18%	50.25	89.21%	6.08	5.96	0.12	43.69	0.07%	37.62	86.11%	6.07	5.71	0.37	2638	103.81	18.04	0	0	9.21	9.96	16.94	11.98	33.88	83.57	21.57	0.11	4.02	21.26	15.83	37.22	2139	-73.2%	185186807	-50.3%	1.9%	1471	68.8%	7	210	669	31.3%	4	167	-6.88	-77.8%	4.51	-70.7%	-169.34	1.1%	111.87	1.0%	66.04%	3.66%	21.6	8.9%	24.23	26.5%	41.66	11.2%	44.02	33.2%	18.25	7.0%	21.4	20.2%					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
22	2019-12-22	ego+100	eGo100	+100% storage costs	None	9662365409	2.65%	56.39	0.28%	50.25	89.11%	6.14	6	0.14	43.59	-0.16%	37.62	86.30%	5.98	5.53	0.44	3860	103.67	18.17	0	0	9.22	9.97	16.93	11.76	33.95	83.38	20.95	0.11	4.02	20.95	16.63	37.34	2440	-69.4%	224558540	-39.8%	2.3%	1323	54.2%	8	165	1116	45.7%	6	186	-9.04	-70.8%	5.03	-67.4%	-161.66	-3.5%	108.07	-2.4%	66.26%	3.53%	21.91	10.4%	23.78	24.2%	42.81	14.3%	41.35	25.2%	18.21	6.7%	21.32	19.8%					83.38	20.95	0.11	4.02	20.95	16.63	37.34	100	17.47	0.09	3.35	17.47	13.87	31.13
23	2019-12-06	ego-ep8	eGo100	Battery: E/P = 8	None	9392033832	-0.22%	56.22	-0.02%	50.25	89.38%	5.97	5.71	0.26	43.67	0.02%	37.62	86.15%	6.05	5.25	0.8	1616	104.54	17.16	0	0	9.14	9.89	16.87	12.8	34.14	86.47	19.18	0.11	3.89	20.73	18.42	37.68	8693	8.9%	402907675	8.1%	4.3%	3845	44.2%	12	320	4848	55.8%	7	693	-32.56	5.3%	17.5	13.6%	-166.22	-0.8%	109.99	-0.7%	64.14%	4.33%	19.78	-0.3%	18.94	-1.1%	37.25	-0.5%	32.62	-1.3%	17.06	0.0%	17.66	-0.8%					86.47	19.18	0.11	3.89	20.73	18.42	37.68	100.01	16.58	0.10	3.36	17.92	15.93	32.58
24	2019-12-07	ego-ep10	eGo100	Battery: E/P = 10	None	9369524047	-0.46%	56.21	-0.04%	50.25	89.40%	5.95	5.68	0.27	43.68	0.05%	37.62	86.13%	6.07	5.21	0.85	2004	104.49	17.07	0	0	9.15	9.88	16.88	12.83	34.18	86.6	18.99	0.11	3.88	20.72	18.52	37.78	9379	17.5%	432163857	15.9%	4.6%	4936	52.6%	13	380	4443	47.4%	5	889	-34.68	12.1%	19.94	29.4%	-165.16	-1.4%	109.34	-1.3%	64.69%	4.29%	19.7	-0.7%	18.62	-2.8%	37.09	-1.0%	32.13	-2.8%	16.99	-0.4%	17.32	-2.7%					86.6	18.99	0.11	3.88	20.72	18.52	37.78	100	16.45	0.10	3.36	17.94	16.04	32.72
25	2019-12-05	ego-h2+5	eGo100	eff_h2 +5%	None	9400589396	-0.13%	56.23	0.00%	50.25	89.37%	5.97	5.72	0.25	43.65	-0.02%	37.62	86.19%	6.04	5.25	0.79	1913	104.66	17.17	0	0	9.13	9.88	16.85	12.82	34.14	86.7	19.11	0.11	3.88	20.67	18.55	37.69	8508	6.6%	398415727	6.9%	4.2%	2495	29.3%	9	277	6013	70.7%	12	501	-33.29	7.6%	16.77	8.8%	-167.29	-0.1%	110.66	-0.1%	63.53%	4.44%	19.67	-0.9%	18.64	-2.7%	37.04	-1.1%	31.96	-3.3%	16.95	-0.6%	17.43	-2.1%					86.7	19.11	0.11	3.88	20.67	18.55	37.69	100.01	16.57	0.10	3.36	17.92	16.08	32.67
26	2019-12-04	ego-h2-5	eGo100	eff_h2 -5%	None	9424387438	0.12%	56.24	0.02%	50.25	89.35%	5.99	5.77	0.22	43.66	0.00%	37.62	86.17%	6.04	5.35	0.69	1434	104.55	17.33	0	0	9.14	9.89	16.87	12.68	34.09	86.21	19.6	0.11	3.9	20.76	18.07	37.57	7475	-6.4%	348154937	-6.6%	3.7%	2774	37.1%	9	308	4701	62.9%	8	588	-28.71	-7.2%	14.19	-7.9%	-167.7	0.1%	110.85	0.1%	63.66%	4.34%	19.99	0.8%	19.64	2.6%	37.81	1.0%	34.09	3.2%	17.18	0.7%	18.15	2.0%					86.21	19.6	0.11	3.9	20.76	18.07	37.57	100.01	16.90	0.09	3.36	17.90	15.58	32.39
27	2019-12-02	ego-batt+5	eGo100	eff_batt +5%	None	9413855696	0.01%	56.23	0.00%	50.25	89.37%	5.98	5.74	0.24	43.67	0.02%	37.62	86.15%	6.05	5.3	0.75	1566	104.57	17.24	0	0	9.14	9.89	16.87	12.74	34.12	86.35	19.37	0.11	3.9	20.74	18.24	37.66	8183	2.5%	381627289	2.4%	4.1%	2890	35.3%	10	289	5293	64.7%	9	588	-31.72	2.6%	16.6	7.7%	-166.9	-0.4%	110.28	-0.4%	63.88%	4.36%	19.86	0.1%	19.26	0.6%	37.49	0.1%	33.37	1.0%	17.08	0.1%	17.82	0.1%					86.35	19.37	0.11	3.9	20.74	18.24	37.66	100.02	16.72	0.09	3.37	17.91	15.75	32.51
28	2019-12-02	ego-batt-5	eGo100	eff_batt -5%	None	9412000942	-0.01%	56.23	0.00%	50.25	89.37%	5.98	5.74	0.23	43.65	-0.02%	37.62	86.19%	6.03	5.3	0.73	1637	104.64	17.25	0	0	9.13	9.87	16.85	12.78	34.11	86.57	19.33	0.11	3.88	20.68	18.41	37.59	7886	-1.2%	368814641	-1.1%	3.9%	2455	31.1%	9	273	5430	68.9%	10	543	-30.75	-0.6%	14.66	-4.9%	-167.9	0.2%	111.09	0.3%	63.30%	4.43%	19.78	-0.3%	19	-0.8%	37.25	-0.5%	32.57	-1.4%	17.04	-0.1%	17.76	-0.2%					86.57	19.33	0.11	3.88	20.68	18.41	37.59	100	16.73	0.10	3.36	17.90	15.94	32.54
modeling parameters	modeling parameters					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
29	2020-01-21	ego-cluster2	eGo100	change cluster coord 2	None	9228193229	-1.97%	56.12	-0.20%	50.25	89.54%	5.86	5.62	0.24	43.64	-0.05%	37.62	86.21%	6.02	5.26	0.76	1285	104.69	16.86	0	0	9.13	9.87	16.83	13.27	34.04	87.54	18.98	0.1	3.84	20.31	19.79	36.98	8136	1.9%	384510839	3.1%	4.2%	1303	16.0%	12	109	6834	84.0%	10	683	-34.02	10.0%	15.6	1.2%	-163.95	-2.1%	108.8	-164.9%	62.84%	4.47%	19.25	-3.0%	17.67	-7.7%	34.85	-6.9%	26.71	-19.2%	17.17	0.6%	18.19	2.2%					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
30	2019-12-03	ego-no-cluster-coords	eGo100	no given cluster coord	None	9481479698	0.73%	56.28	0.09%	50.25	89.29%	6.02	5.8	0.22	43.5	-0.37%	37.62	86.48%	5.88	5.19	0.7	1347	104.5	17.44	0	0	9.15	9.89	16.82	12.63	34.07	85.71	19.1	0.11	3.91	20.54	18.79	37.55	7491	-6.2%	351612486	-5.7%	3.7%	1947	26.0%	12	162	5544	74.0%	11	504		-100.0%		-100.0%		-100.0%		-100.0%	63.45%	4.30%	20.17	1.7%	19.6	2.3%	38.08	1.7%	31.86	-3.6%	17.25	1.1%	18.67	4.9%					85.71	19.1	0.11	3.91	20.54	18.79	37.55	100	16.37	0.09	3.35	17.60	16.10	32.18
31	2020-03-12	ego-100-skip1	eGo100	K = 100	Skip=1	8968662079		56.13	0.79%	50.42	89.83%	5.72	5.61	0.11	43.51	0.60%	37.9	87.11%	5.61	5.28	0.33	115	104.35	16.89	0	0	9.19	9.85	16.78	13.2	34.09	90.76	18.37	0.1	3.84	19.85	20.35	37.49	3510	-44.8%	167695315	-44.8%	1.9%	0	0.0%	0	#DIV/0!	3510	100.0%	5	702	-14.95	-45.8%	6.08	-48.0%	-158.35	-6.9%	99.19	-12.1%	60.74%	4.16%	19.89		13.98	26.7%	35.56	11.4%	21.45	56.3%	17.61	10.4%	14.07	8.8%
32	2019-12-15	ego-100	eGo100	K = 100	None	8555469444	-9.11%	55.69	-0.96%	50.25	90.23%	5.43	5.24	0.19	43.25	-0.94%	37.59	86.91%	5.66	5.07	0.59	55	104.65	15.73	0	0	9.13	9.86	16.85	13.87	34.56	91.91	17.41	0.1	3.79	19.61	21.9	37.19	6364	-20.3%	303623990	-18.6%	3.5%	127	2.0%	2	64	6236	98.0%	5	1247	-27.58	-10.8%	11.7	-24.1%	-170.05	1.5%	112.89	-167.4%	63.04%	4.43%	17.85	-10.0%	11.03	-42.4%	31.93	-14.7%	13.72	-58.5%	15.95	-6.5%	12.93	-27.4%					91.91	17.41	0.1	3.79	19.61	21.9	37.19	100	16.00	0.09	3.48	18.02	20.13	34.18
33	2019-12-15	ego-200	eGo100	K = 200	None	9021742286	-4.16%	55.98	-0.44%	50.25	89.76%	5.73	5.52	0.21	43.41	-0.57%	37.62	86.66%	5.8	5.14	0.66	234	104.62	16.58	0	0	9.14	9.86	16.79	12.97	34.67	88.42	18.35	0.1	3.82	20.31	18.48	38.94	7059	-11.6%	331972640	-10.9%	3.7%	1645	23.3%	3	548	5414	76.7%	5	1083	-29.41	-4.9%	14.06	-8.8%	-167.99	0.3%	110.87	-166.2%	63.29%	4.40%	18.95	-4.5%	16.13	-15.8%	36.35	-2.9%	30.86	-6.6%	15.71	-7.9%	12.98	-27.1%					88.42	18.35	0.1	3.82	20.31	18.48	38.94	100	16.23	0.09	3.38	17.96	16.34	34.43
34	2019-12-15	ego-300	eGo100	K = 300	None	8980701106	-4.59%	55.96	-0.48%	50.25	89.80%	5.7	5.47	0.23	43.24	-0.96%	37.62	87.00%	5.62	4.89	0.73	564	104.65	16.42	0	0	9.13	9.87	16.83	13.24	34.5	88.37	17.47	0.1	3.82	20.4	19.86	38.34	7835	-1.8%	368630324	-1.1%	4.1%	1775	22.7%	4	444	6060	77.3%	8	758	-31.99	3.4%	15.18	-1.5%	-166.23	-0.8%	110.04	-165.7%	63.17%	4.43%	18.73	-5.6%	15.23	-20.5%	35	-6.5%	25.73	-22.1%	16.08	-5.7%	14.37	-19.3%					88.37	17.47	0.1	3.82	20.4	19.86	38.34	99.99	15.44	0.09	3.38	18.03	17.55	33.88
35	2019-12-15	ego-400	eGo100	K = 400	None	9377211219	-0.38%	56.21	-0.04%	50.25	89.40%	5.96	5.75	0.21	43.23	-0.98%	37.62	87.02%	5.62	4.97	0.64	498	104.5	17.29	0	0	9.15	9.88	16.82	12.44	34.43	84.86	18.5	0.11	3.97	21.09	17.36	38.97	6885	-13.7%	324834557	-12.9%	3.5%	1275	18.5%	8	159	5610	81.5%	10	561	-30.61	-1.0%	14.11	-8.4%	-161.63	-3.5%	107.52	-164.2%	63.27%	4.29%	19.97	0.7%	19.83	3.6%	39.03	4.2%	37.68	14.0%	16.39	-3.9%	16.41	-7.8%					84.86	18.5	0.11	3.97	21.09	17.36	38.97	100	15.70	0.09	3.37	17.90	14.73	33.07
36	2019-12-15	ego-600	eGo100	K = 600	None	9921426723	5.40%	56.56	0.59%	50.25	88.84%	6.3	5.95	0.35	43.47	-0.44%	37.62	86.54%	5.85	4.76	1.09	4560	104.8	17.78	0.04	0	9.12	9.84	16.76	12.5	33.97	82.86	18.15	0.11	3.97	21.21	17.91	38.66	11935	49.5%	549888341	47.5%	5.5%	6292	52.7%	16	393	5643	47.3%	11	513	-39.3	27.1%	19.21	24.7%	-168.15	0.4%	112.25	-167.0%	63.37%	4.61%	20.29	2.3%	21.37	11.6%	38.51	2.8%	37.22	12.7%	17.24	1.1%	19.05	7.0%					82.86	18.15	0.11	3.97	21.21	17.91	38.66	100.01	15.04	0.09	3.29	17.57	14.84	32.03
37	2020-01-25	ego-600-2	eGo100	K = 600	None	9921426676	5.40%	56.56	0.59%	50.25	88.84%	6.3	5.95	0.35	43.47	-0.44%	37.62	86.54%	5.85	4.76	1.09	2559	104.8	17.78	0.04	0	9.12	9.84	16.75	12.51	33.97	82.86	18.15	0.11	3.97	21.21	17.91	38.66	11935	49.5%	549888697	47.5%	5.5%	6292	52.7%	16	393	5643	47.3%	11	513	-39.3	27.1%	19.21	24.7%	-168.15	0.4%	112.25	-167.0%	63.37%	4.61%	20.28	2.2%	21.37	11.6%	38.5	2.8%	37.22	12.7%	17.24	1.1%	19.05	7.0%					82.86	18.15	0.11	3.97	21.21	17.91	38.66	100.01	15.04	0.09	3.29	17.57	14.84	32.03
38	2019-12-08	ego-noise-1	eGo100	change_random noise 1	None	9413879004	0.01%	56.23	0.00%	50.25	89.37%	5.98	5.74	0.24	43.66	0.00%	37.62	86.17%	6.04	5.3	0.74	3179	104.6	17.25	0	0	9.14	9.89	16.85	12.58	34.4	86.44	19.37	0.11	3.89	20.66	17.68	38.3	7980	0.0%	372686084	0.0%	4.0%	2653	33.2%	9	295	5327	66.8%	10	533	-30.92	0.0%	15.4	-0.1%	-167.53	0.0%	110.77	-166.1%	63.58%	4.39%	19.84	0.0%	19.17	0.1%	38.27	2.2%	35.34	7.0%	16.62	-2.6%	16.33	-8.3%					86.44	19.37	0.11	3.89	20.66	17.68	38.3	100.01	16.74	0.10	3.36	17.86	15.28	33.10
39	2019-12-08	ego-noise-2	eGo100	change_random noise 2	None	9411817698	-0.01%	56.23	0.00%	50.25	89.37%	5.98	5.74	0.24	43.65	-0.02%	37.62	86.19%	6.04	5.3	0.74	3352	104.6	17.25	0	0	9.14	9.88	16.86	12.69	34.19	86.39	19.36	0.11	3.89	20.71	17.99	37.94	7982	0.0%	372793341	0.0%	4.0%	2654	33.2%	9	295	5328	66.8%	10	533	-30.93	0.0%	15.41	0.0%	-167.53	0.0%	110.77	-166.1%	63.58%	4.39%	19.82	-0.1%	19.2	0.3%	37.73	0.7%	34.25	3.7%	16.89	-1.0%	17.15	-3.7%					86.39	19.36	0.11	3.89	20.71	17.99	37.94	100	16.73	0.10	3.36	17.89	15.54	32.78
40	2019-12-10	ego-noise-3	eGo100	change_random noise 3	None	9491826484	0.84%	56.28	0.09%	50.25	89.29%	6.03	5.81	0.22	43.51	-0.34%	37.62	86.46%	5.9	5.2	0.7	2031	104.5	17.44	0	0	9.15	9.88	16.79	12.56	34.19	85.77	19.14	0.11	3.91	20.4	18.42	38.02	7492	-6.1%	351659153	-5.7%	3.7%	1948	26.0%	12	162	5545	74.0%	11	504	-31.58	2.1%	14.55	-5.6%	-161.77	-3.4%	108.13	-164.5%	63.45%	4.30%	20.15	1.6%	19.58	2.2%	38.41	2.6%	33.14	0.3%	16.97	-0.5%	17.6	-1.1%					85.77	19.14	0.11	3.91	20.4	18.42	38.02	100	16.42	0.09	3.35	17.50	15.80	32.61
41	2019-12-10	ego-noise-4	eGo100	change_random noise 4	None	9486762705	0.78%	56.28	0.09%	50.25	89.29%	6.03	5.8	0.22	43.51	-0.34%	37.62	86.46%	5.89	5.19	0.7	2009	104.5	17.44	0	0	9.15	9.88	16.82	12.61	34.1	85.69	19.13	0.11	3.91	20.54	18.6	37.71	7492	-6.1%	351660191	-5.7%	3.7%	1947	26.0%	12	162	5545	74.0%	11	504	-31.59	2.1%	14.55	-5.6%	-161.79	-3.4%	108.14	-164.5%	63.45%	4.30%	20.15	1.6%	19.64	2.6%	38.19	2.0%	32.56	-1.5%	17.17	0.6%	18.33	3.0%					85.69	19.13	0.11	3.91	20.54	18.6	37.71	100	16.39	0.09	3.35	17.60	15.94	32.31
42	2019-12-12	ego-noise-5	eGo100	change_random noise 5	None	9479106311	0.70%	56.28	0.09%	50.25	89.29%	6.02	5.8	0.22	43.5	-0.37%	37.62	86.48%	5.88	5.18	0.7	2440	104.5	17.44	0	0	9.15	9.89	16.82	12.63	34.07	85.69	19.09	0.11	3.91	20.55	18.78	37.56	7491	-6.2%	351591494	-5.7%	3.7%	1948	26.0%	12	162	5543	74.0%	11	504	-31.58	2.1%	14.55	-5.6%	-161.77	-3.4%	108.13	-164.5%	63.45%	4.30%	20.17	1.7%	19.6	2.3%	38.09	1.7%	31.91	-3.4%	17.25	1.1%	18.66	4.8%					85.69	19.09	0.11	3.91	20.55	18.78	37.56	100	16.36	0.09	3.35	17.61	16.09	32.19
43	2019-12-13	ego-noise-6	eGo100	no random noise	None	9427465540	0.15%	56.24	0.02%	50.25	89.35%	5.99	5.77	0.22	43.42	-0.55%	37.62	86.64%	5.81	5.11	0.7	1063	105.43	17.28	0	0	9.06	9.79	16.54	14.07	33.25	84.33	19.16	0.11	3.97	20.51	19.28	36.97	7491	-6.2%	351590305	-5.7%	3.7%	1946	26.0%	12	162	5545	74.0%	11	504	-31.59	2.1%	14.57	-5.5%	-178.57	6.6%	110.33	-165.9%	59.43%	5.14%	19.04	-4.0%	21.02	9.8%	30.42	-18.8%	31.2	-5.6%	18.54	8.7%	21.22	19.2%					84.33	19.16	0.11	3.97	20.51	19.28	36.97	100	16.16	0.09	3.35	17.30	16.26	31.18
44	2019-12-16	ego-mar-jun-3	eGo100	start_h=1417, end_h=3624	Skip = 3	2126157119	-2.80%	57.5	-0.66%	52.06	90.54%	5.44	5.18	0.27	43.41	-0.32%	37.31	85.95%	6.1	5.29	0.82	182	104.7	15.53	0	0	9.27	9.91	23.34	10.55	31.39	88.23	18.92	0.1	3.81	28.36	14.9	33.91	8922	51.7%	104052773	48.7%	4.9%	4175	46.8%	13	321	4747	53.2%	8	593	-7.68	-75.2%	4.45	-71.1%	-46.52	-72.2%	31.44	-118.8%	66.22%	4.48%	18.17	-7.4%	17.12	-8.8%	36	-5.7%	31.78	-10.6%	17.75	-10.6%	17.94	-6.6%					88.23	18.92	0.1	3.81	28.36	14.9	33.91	100	16.69	0.09	3.36	25.02	13.15	29.92
45	2019-12-17	ego-mar-jun-1	eGo100	start_h=1417, end_h=3624	Skip = 1	2187504311	-%	57.88	-%	52.26	90.29%	5.62	5.44	0.18	43.55	-%	37.62	86.38%	5.93	5.37	0.55	1299	104.8	16.31	0	0	9.3	9.91	23.52	10.23	30.73	88.03	19.27	0.1	3.79	28.78	14.22	33.82	5881	-%	69975685	-%	3.2%	1045	17.8%	4	261	4836	82.2%	9	537	-5.65	-%	2.55	-%	-43.71	-%	28.19	-%	62.28%	4.57%	19.62	-%	18.77	-%	38.18	-%	35.55	-%	19.85	-%	19.2	-%					88.03	19.27	0.1	3.79	28.78	14.22	33.82	99.98	16.97	0.09	3.34	25.34	12.52	29.78
RQ 2a	RQ 2a					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
46	2019-12-22	ego-no-1.4	eGo100	1.4 GW storage at Büttel	None	9390549317	-0.24%	56.26	0.05%	50.3	89.41%	5.97	5.78	0.19	43.49	-0.39%	37.76	86.82%	5.73	5.14	0.59	687	104.39	17.39	0	0	9.16	9.9	16.86	12.73	33.97	84.71	19.17	0.11	3.96	20.78	18.5	37.49	6357	-20.4%	297442113	-20.2%	3.2%	1940	30.5%	12	162	4417	69.5%	10	442	-25.83	-16.5%	12.15	-21.2%	-167.59	0.0%	112.38	1.5%	64.38%	4.19%	20.21	1.9%	20.65	7.8%	37.67	0.6%	33.68	1.9%	17.59	3.1%	19.75	11.0%					84.71	19.17	0.11	3.96	20.78	18.5	37.49	100.01	16.24	0.09	3.35	17.60	15.67	31.75
47	2020-01-22	ego-no-10-2	eGo100	10 GW storage at Büttel	None	9207707809	-2.18%	56.42	0.34%	50.57	89.63%	5.85	5.64	0.21	44.08	0.96%	38.6	87.57%	5.48	4.83	0.65	699	104.62	16.93	0	0	9.13	9.86	16.92	12.7	34.45	86.55	17.6	0.11	3.89	20.78	18.73	38.9	7100	-11.0%	330140405	-11.4%	3.6%	2815	39.6%	9	313	4285	60.4%	7	612	-26.65	-13.8%	13.8	-10.4%	-179.36	7.1%	119.63	8.0%	64.77%	4.41%	19.39	-2.3%	17.2	-10.2%	37.65	0.5%	31.43	-4.9%	16.24	-4.8%	14.9	-16.3%					86.37	17.14	0.11	3.86	20.58	20.47	37.85	100.01	14.80	0.09	3.33	17.77	17.68	32.69
48	2019-12-23	ego-no-10-sep	eGo100	separation to Büttel and WHV	None	9267868220	-1.54%	56.46	0.41%	50.57	89.57%	5.89	5.72	0.16	44.15	1.12%	38.6	87.43%	5.55	5.04	0.51	885	104.38	17.23	0	0	9.16	9.9	16.8	12.87	34.04	84.98	18.74	0.11	3.95	20.68	19.13	37.39	5489	-31.2%	255992371	-31.3%	2.8%	1940	35.3%	11	176	3549	64.7%	7	507	-21.97	-29.0%	10.3	-33.2%	-177.3	5.8%	120.18	8.5%	65.48%	4.19%	20.02	0.9%	19.94	4.1%	36.96	-1.3%	31.21	-5.5%	17.42	2.1%	19.69	10.6%					84.98	18.74	0.11	3.95	20.68	19.13	37.39	100	15.93	0.09	3.36	17.57	16.26	31.77
49	2019-12-31	ego-no-real-2	eGo100	Switch connection as in data model	(BE also in)	9652988863	2.55%	58.05	3.24%	52.64	90.68%	5.41	5.16	0.25	44.35	1.58%	37.62	84.83%	6.73	5.84	0.89	680	103.54	15.64	0	0	14.84	10.76	16.19	11.48	31.09	88.23	20.91	0.1	3.8	20.06	18.74	36.38	9627	20.6%	449676973	20.6%	4.7%	3194	33.2%	16	200	6434	66.8%	12	536	-37.06	19.8%	18.82	22.1%	-151.25	-9.7%	106.58	-3.8%	66.59%	3.41%	22.04	11.1%	19.06	-0.5%	40.77	8.9%	30.05	-9.0%	19.23	12.7%	18.88	6.1%					88.23	20.91	0.1	3.8	20.06	18.74	36.38	99.99	18.45	0.09	3.35	17.70	16.54	32.10
50	2020-01-02	ego-no-10-real	eGo100	Increase cap. To 10 GW in data switch	None	9935700910	5.55%	58.21	3.52%	52.64	90.43%	5.57	5.35	0.22	44.31	1.49%	37.62	84.90%	6.69	5.91	0.78	564	103.23	16.27	0	0	13.11	11.51	16.25	11.47	31.39	88.93	20.99	0.1	3.78	19.93	18.39	36.82	8490	6.4%	393820921	5.6%	4.0%	3651	43.0%	11	332	4839	57.0%	9	538	-30.72	-0.7%	16.35	6.1%	-147.19	-12.1%	104.2	-5.9%	67.76%	3.12%	21.81	9.9%	18.47	-3.6%	40.97	9.4%	30.81	-6.7%	18.7	9.6%	17.25	-3.1%					88.93	20.99	0.1	3.78	19.93	18.39	36.82	100.01	18.66	0.09	3.36	17.72	16.35	32.74
51	2019-12-25	ego-isola-de	eGo100	DE-island	+25% for PV / Onshore	7980852815	-15.22%	58.6	4.21%	42.82	73.07%	15.79	8.93	6.85	58.6	34.22%	42.82	73.07%	15.79	8.93	6.85	1692	113.29	24.9	0	0	0.08	2.96	19.99	15.28	36.8	113.29	24.9	0.08	2.96	19.99	15.28	36.8	75786	849.5%	3463909621	829.2%	43.4%	48582	64.1%	56	868	27204	35.9%	40	680	-128.98	317.0%	63.87	314.5%	-8.83	-94.7%	6.74	-93.9%	51.24%	11.73%	15.42	-22.3%	15.42	-19.5%	26.73	-28.6%	26.73	-19.1%	15.72	-7.9%	15.72	-11.7%					113.29	24.9	0.08	2.96	19.99	15.28	36.8	100.01	28.21	0.09	3.35	22.64	17.31	41.69
52	2020-01-22	ego-foreign-ext-2	eGo100	auslandsspeicher extendable	None	8028114366	-14.71%	55.35	-1.57%	48.58	87.77%	6.78	6.25	0.53	44.35	1.58%	37.62	84.83%	6.73	5.61	1.12	1746	103.14	18.99	0.03	0	9.26	9.6	16.22	12.53	33.37	88.7	19.96	0.1	3.78	20.14	19.06	36.95	17914	124.4%	833026914	123.5%	10.4%	7089	39.6%	13	545	10825	60.4%	14	773	-66.02	113.4%	34.86	126.2%	-83.42	-50.2%	64.9	-41.4%	66.76%	3.06%	22.93	15.6%	17.57	-8.3%	39.34	5.0%	28.47	-13.8%	19.99	17.2%	17.17	-3.5%					88.35	19.55	0.1	3.75	19.83	20.02	36.74	99.99	17.27	0.09	3.31	17.52	17.69	32.46
RQ 2b	RQ 2b					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
53	2020-01-03	ego-40	eGo100	40 GW at possible buses	None	9434883217	0.23%	57.47	2.21%	51.48	89.58%	5.99	5.66	0.33	47.36	8.47%	41.44	87.50%	5.92	4.9	1.03	780	105.23	16.91	0	0	9.08	9.81	16.69	14.2	33.3	88.46	17.47	0.1	3.78	19.88	24.11	34.66	11029	38.2%	519170479	39.3%	5.5%	2407	21.8%	12	201	8622	78.2%	15	575	-46.75	51.1%	21.94	42.4%	-169.18	1.0%	111.81	-166.7%	61.94%	4.96%	22.16	11.7%	25.42	32.7%	40.12	7.1%	39.02	18.1%	18.56	8.8%	22.52	26.5%					88.46	17.47	0.1	3.78	19.88	24.11	34.66	100	15.45	0.09	3.34	17.59	21.33	30.66
54	2019-12-26	ego-40-less-onshore	eGo100	40 GW at possible buses	reduce onshore cap. By 13 GW	9644380669	2.46%	56.97	1.32%	50.85	89.26%	6.13	5.9	0.23	45.43	4.05%	39.47	86.88%	5.96	5.26	0.7	2515	104.51	17.75	0	0	9.14	9.89	16.83	13.59	32.8	84.47	19.67	0.11	3.98	20.85	22.29	33.11	7554	-5.4%	354277475	-5.0%	3.7%	2048	27.1%	11	186	5505	72.9%	11	500	-32.72	5.8%	15	-2.7%	-159.7	-4.7%	106.68	-163.7%	63.24%	4.30%	22.38	12.8%	26.86	40.3%	43.08	15.0%	46.17	39.7%	17.1	0.2%	18.55	4.2%					84.47	19.67	0.11	3.98	20.85	22.29	33.11	100.01	16.61	0.09	3.36	17.61	18.83	27.97
55	2019-12-26	ego-40-lesser-onshore	eGo100	40 GW at possible buses	reduce onshore cap. By 26 GW	9997355168	6.21%	56.57	0.60%	50.21	88.76%	6.35	6.13	0.22	43.69	0.07%	37.5	85.83%	6.2	5.5	0.7	802	104.41	18.44	0	0	9.15	9.9	16.89	13.84	31.77	82.18	21.12	0.11	4.09	21.59	23.49	29.6	7533	-5.6%	353515926	-5.2%	3.5%	1983	26.3%	10	198	5550	73.7%	11	505	-32.53	5.2%	14.88	-3.4%	-155.59	-7.1%	103.99	-162.1%	63.19%	4.21%	21.79	9.8%	25.92	35.4%	42.08	12.4%	44.81	35.6%	16.39	-3.9%	16.46	-7.5%					82.18	21.12	0.11	4.09	21.59	23.49	29.6	100	17.36	0.09	3.36	17.74	19.30	24.33
56	2019-12-28	ego-73	eGo100	73.2 GW for 2050 acc. To SRU	None	9030670871	-4.06%	60.35	7.33%	54.61	90.49%	5.74	5.52	0.22	56.74	29.96%	51.19	90.22%	5.55	4.87	0.68	2230	104.59	16.58	0	0	9.14	9.84	16.66	15.16	32.63	92.43	16.64	0.1	3.63	18.62	30.31	30.7	7346	-8.0%	343890207	-7.8%	3.8%	2196	29.9%	10	220	5151	70.1%	11	468	-32.62	5.5%	14.93	-3.1%	-163.51	-2.4%	109.14	-165.1%	63.26%	4.38%	30.12	51.8%	40.34	110.7%	54.2	44.7%	56.93	72.3%	20.69	21.3%	28.29	58.9%					92.43	16.64	0.1	3.63	18.62	30.31	30.7	100	15.38	0.09	3.36	17.21	28.02	28.38
57	2019-12-27	ego-73-less-onshore	eGo100	73.2 GW for 2050 acc. To SRU	reduce onshore cap. By 26 GW	9648433084	2.50%	59.48	5.78%	53.35	89.69%	6.13	5.91	0.22	53.19	21.83%	47.25	88.83%	5.94	5.26	0.68	1035	104.43	17.79	0	0	9.15	9.89	16.78	15.59	30.8	88.57	18.75	0.1	3.8	19.73	32.8	24.82	7313	-8.4%	342725180	-8.1%	3.6%	2071	28.3%	9	230	5242	71.7%	8	655	-32.38	4.7%	14.67	-4.8%	-156.62	-6.5%	104.77	-162.5%	63.20%	4.23%	29.14	46.9%	39.33	105.4%	52.97	41.4%	55.34	67.5%	18.91	10.8%	24.49	37.6%					88.57	18.75	0.1	3.8	19.73	32.8	24.82	100	16.61	0.09	3.37	17.47	29.05	21.98
Results Generation / Demand	RQ 2b					0	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!	#DIV/0!
58	2019-12-25	ego-nlnop	eGo100	No PHS storage in NL	None	9843724813	4.57%	56.45	0.39%	50.2	88.93%	6.25	5.87	0.38	43.87	0.48%	37.62	85.75%	6.25	5.07	1.18	1815	104.8	17.61	0	0	9.12	9.84	16.75	12.87	33.81	86.02	18.61	0.11	3.87	20.54	19.83	37.04	12944	62.2%	595286382	59.7%	6.0%	7163	55.3%	15	478	5780	44.7%	10	578	-37.95	22.7%	16.33	6.0%	-161.9	-3.4%	108.16	-2.4%	62.29%	4.57%	20.06	1.1%	18.74	-2.1%	36.72	-1.9%	27.83	-15.8%	17.66	3.5%	19.48	9.4%					86.02	18.61	0.11	3.87	20.54	19.83	37.04	100	16.01	0.09	3.33	17.67	17.06	31.86
59	2019-12-27	ego-frpl-off	eGo100	NEP off numbers for PL and FR	None	8009498411	-14.91%	56.73	0.89%	51.64	91.03%	5.09	4.74	0.35	43.04	-1.42%	37.62	87.41%	5.42	4.35	1.08	1793	105.09	14.16	0	0	9.09	9.76	16.66	16.67	33.66	83.62	16.4	0.11	3.96	20.98	20.61	37.93	11777	47.5%	543630432	45.8%	6.8%	5891	50.0%	14	421	5886	50.0%	11	535	-36.37	17.6%	15.32	-0.6%	-174.19	4.0%	115.34	-168.8%	62.05%	4.83%	19.57	-1.4%	18.86	-1.5%	31.78	-15.1%	27.09	-18.0%	17.8	4.3%	19.84	11.5%					83.62	16.4	0.11	3.96	20.98	20.61	37.93	99.99	13.72	0.09	3.31	17.55	17.24	31.72
60	2020-01-27	ego-frpl-off-2	eGo100	NEP off numbers for PL and FR	None	7693354108	-18.27%	56.53	0.53%	51.64	91.35%	4.89	4.65	0.23	43.21	-1.03%	37.62	87.06%	5.6	4.87	0.73	1874	104.93	13.92	0	0	9.11	9.79	16.67	16.43	34.08	85.15	18.06	0.11	3.94	20.93	18.58	38.39	7833	-1.9%	366620543	-1.7%	4.8%	2356	30.1%	8	295	5477	69.9%	9	609	-30.97	0.1%	15.14	-1.8%	-177.88	6.2%	116.3	-169.4%	62.94%	4.69%	19.45	-2.0%	19.06	-0.5%	32.86	-12.3%	33.07	0.1%	16.9	-0.9%	17.39	-2.3%					83.62	16.4	0.11	3.96	20.98	20.61	37.93	99.99	13.72	0.09	3.31	17.55	17.24	31.72
61	2019-12-19	ego-less-biomass	eGo100	reduce biomass cap. To 50%	None	9757999434	3.66%	55.33	-1.60%	49.14	88.81%	6.2	5.73	0.47	38.67	-11.43%	34.13	88.26%	4.53	3.07	1.46	2858	104.98	17.13	0.01	0	9.1	9.85	16.82	12.87	34.22	80.71	12.01	0.11	4.15	22.07	20.69	40.96	15965	100.0%	737352985	97.8%	7.6%	7861	49.2%	37	212	8103	50.8%	14	579	-56.3	82.0%	30.85	100.2%	-158.25	-5.5%	105.4	-162.9%	63.51%	4.74%	19.31	-2.7%	17.54	-8.4%	36.62	-2.2%	29.35	-11.2%	16.51	-3.2%	16.44	-7.6%					80.71	12.01	0.11	4.15	22.07	20.69	40.96	99.99	9.69	0.09	3.35	17.81	16.70	33.06
62	2020-01-06	ego-pv-wind	eGo100	reduce onshore 25%, increase PV 25%	None	9600684165	1.99%	55.63	-1.07%	49.53	89.03%	6.1	5.86	0.23	41.53	-4.88%	35.36	85.14%	6.18	5.45	0.73	2952	104.55	17.63	0	0	9.14	9.89	18.23	13.2	31.91	84.72	20.31	0.11	3.97	26.38	19.58	29.66	7905	-1.0%	367716808	-1.4%	3.8%	3076	38.9%	9	342	4828	61.1%	7	690	-29.82	-3.6%	15.35	-0.4%	-169.57	1.2%	112.64	-167.2%	64.19%	4.34%	18.74	-5.5%	16.53	-13.7%	35.27	-5.8%	29.83	-9.7%	16.29	-4.5%	15.33	-13.9%					84.72	20.31	0.11	3.97	26.38	19.58	29.66	100.01	17.20	0.09	3.36	22.35	16.59	25.13
63	2020-01-10	ego-cf-bio	eGo100	limit DE biocap to 2514	None	9416065823	0.03%	56.24	0.02%	50.25	89.35%	5.98	5.74	0.24	41.79	-4.28%	37.62	90.02%	4.17	3.43	0.74	992	104.62	17.24	0	0	9.21	9.87	16.89	12.72	34.07	80.52	13.44	0.4	4.18	22.23	19.43	40.33	8070	1.1%	376347059	1.0%	4.0%	2869	35.6%	9	319	5201	64.4%	8	650	-30.88	-0.2%	15.57	1.0%	-168.29	0.5%	111.13	-166.3%	63.61%	4.40%	19.89	0.3%	19.45	1.6%	37.6	0.4%	33.82	2.4%	17.16	0.6%	17.93	0.7%					80.52	13.44	0.4	4.18	22.23	19.43	40.33	100.01	10.82	0.32	3.37	17.90	15.64	32.47
64	2019-12-08	ego-load-5	eGo100	reduce load by 5%	None	7599552542	-19.27%	57.98	3.11%	52.9	91.24%	5.08	4.84	0.24	45.09	3.28%	39.6	87.82%	5.49	4.73	0.76	857	105.08	14.45	0	0	9.57	10.18	17.49	12.94	35.36	87.59	17.06	0.11	4.02	21.4	18.63	38.77	7787	-2.4%	363871598	-2.4%	4.8%	2528	32.5%	9	281	5259	67.5%	10	526	-30.68	-0.8%	15.25	-1.0%	-176.25	5.2%	115.94	4.7%	63.40%	4.82%	21.02	5.9%	19.98	4.3%	39.4	5.2%	34.41	4.1%	17.96	5.3%	18.46	3.7%					87.59	17.06	0.11	4.02	21.4	18.63	38.77	99.99	14.94	0.10	3.52	18.75	16.32	33.96
65	2019-12-10	ego-load-10	eGo100	reduce load by 10%	None	5878698441	-37.55%	59.99	6.69%	55.84	93.08%	4.15	3.89	0.26	46.72	7.01%	41.8	89.47%	4.92	4.12	0.8	2472	105.68	11.54	0	0	10.05	10.59	18.2	13.13	36.49	89.08	14.6	0.11	4.15	22.09	19.05	40	7770	-2.7%	363043303	-2.6%	6.2%	2530	32.6%	10	253	5239	67.4%	10	524	-30.84	-0.3%	15.32	-0.6%	-187.05	11.7%	122.29	10.4%	63.16%	5.36%	22.43	13.1%	20.63	7.7%	41.41	10.6%	35.39	7.1%	19.34	13.4%	18.95	6.5%					89.08	14.6	0.11	4.15	22.09	19.05	40	100	13.01	0.10	3.70	19.68	16.97	35.63
66	2019-12-10	ego-load-plus5	eGo100	increase load by 5%	None	11347529133	20.55%	54.73	-2.67%	47.86	87.45%	6.87	6.59	0.28	42.69	-2.22%	35.83	83.93%	6.87	6.01	0.86	2340	104.29	19.78	0.05	0	8.72	9.54	16.27	12.71	32.94	86.48	21.93	0.1	3.71	19.85	18.1	36.31	9808	22.9%	456687675	22.5%	4.0%	3684	37.6%	12	307	6124	62.4%	12	510	-36.29	17.3%	18.64	21.0%	-160.24	-4.4%	106.33	-4.0%	63.59%	4.15%	18.42	-7.2%	17.72	-7.5%	34.7	-7.3%	30.48	-7.7%	16.12	-5.5%	16.67	-6.3%					86.48	21.93	0.1	3.71	19.85	18.1	36.31	100	18.97	0.09	3.21	17.17	15.65	31.40
67	2019-12-12	ego-load-plus10	eGo100	increase load by 10%	None	13522060969	43.65%	53.49	-4.87%	45.69	85.42%	7.81	7.43	0.37	42.16	-3.44%	34.2	81.12%	7.96	6.79	1.16	3035	104.4	22.09	0.2	0	8.33	9.18	15.67	12.66	31.87	86.98	24.66	0.1	3.53	18.95	17.74	35.02	14016	75.6%	647722048	73.7%	4.8%	6778	48.4%	26	261	7238	51.6%	12	603	-48.13	55.6%	26.93	74.8%	-159.21	-5.0%	106.97	-3.4%	64.58%	4.07%	16.98	-14.4%	16.28	-15.0%	31.91	-14.8%	28.17	-14.7%	15.06	-11.7%	15.33	-13.9%					86.98	24.66	0.1	3.53	18.95	17.74	35.02	100	21.45	0.09	3.07	16.48	15.43	30.46

## nep-sq
#	date	name_of_run	scenario	variation_1	variation_2	objective	rel_diff	lcoe	rel_diff	..exo	share of total	..endo	...disp	...stor	lcoe_de	rel_diff	..exo	share of total	..endo	...disp	...stor	solver_time[min]	Autarky [%]	total_re_share	bio	coal	gas	geo	lignite	reser	ror	pv	uranium	off	on	re_share_de	bio	coal	gas	geo	lignite	reser	ror	pv	uranium	off	on	ext_storage_cap	rel_diff	total_costs_ext_storage	rel_diff	storage cost share	battery_cap	battery_share	no_battery	avg_battery_cap	hydrogen_cap	hydrogen_share	no_hydrogen	avg_hydrogen_cap	charging_new	rel_diff	discharging_new	rel_diff	charging exist	rel_diff	discharging_exist	rel_diff	discharge/charge ratio	stor. Losses of total load	total_curtailment	rel_diff	total_curtailment_DE	rel_diff	off_curtailment	rel_diff	off_curtailment_DE	rel_diff	on_curtailment	rel_diff	on_curtailment_DE	rel_diff
NEP 2035	references
1	2019-11-13	nep	NEP 2035	None	None	9571090637		55.45		49.37	89.04%	6.08	5.91	0.17	48.73		42.46	87.13%	6.27	5.75	0.52	1806	84.64	70.78	10.09	1.34	0.05	0.02	5.95	0.22	24.73	6.91	22.66	11.23	16.81	73.52	13.33	3.38	0.16	0.08	9.58	0.81	5.84	13.35	0	15.19	38.27	4043		264755356		2.8%	871	21.5%	7	124	3171	78.4%	5	634	-15.08		5.48		-34.38		26.66		64.98%	1.09%	5.07		8.07		6.38		13.73		5.69		7.83
2	2019-12-17	nep-ramps	NEP 2035	p_min_pu=0.5 f. nuc.,lig.,coa.	None	16478077001	72.17%	59.84	7.92%	49.37	82.50%	10.47	8.89	1.57	55.49	13.87%	42.46	76.52%	13.03	8.13	4.9	1799	98.44	76.13	13.68	7.11	0.05	0.02	6.68	0.2	22.68	6.41	16.16	10.88	16.12	80.31	13.55	9.95	0.14	0.07	8.31	0.7	5.02	11.6	0	15.06	35.6	37855	836.31%	2477392185	835.73%	15.0%	3580	9.5%	17	211	34276	90.5%	41	836	-144.16	855.97%	38.79	607.85%	-75.48	119.55%	43.18	61.97%	37.32%	8.04%	2.32	-54.24%	0.37	-95.42%	2.36	-63.01%	0.54	-96.07%	2.7	-52.55%	0.29	-96.30%
3	2019-12-22	nep-no-1.4	NEP 2035	1.4 GW storage at Büttel	None	9675566692	1.09%	55.56	0.20%	49.41	88.93%	6.15	5.95	0.19	48.95	0.45%	42.6	87.03%	6.36	5.76	0.6	1518	84.78	70.96	10.21	1.25	0.06	0.02	5.96	0.22	24.67	6.87	22.72	11.11	16.9	73.66	13.34	3.23	0.21	0.08	9.65	0.81	5.79	13.29	0	14.87	38.72	4602	13.83%	301327367	13.81%	3.1%	788	17.1%	9	88	3814	82.9%	6	636	-18.5	22.68%	6.25	14.05%	-40.46	17.68%	31.33	17.52%	63.74%	1.34%	4.97	-1.97%	7.83	-2.97%	7.1	11.29%	15.44	12.45%	4.93	-13.36%	6.6	-15.71%
4	2019-12-23	nep-no-10	NEP 2035	10 GW storage at Büttel	None	9343556990	-2.38%	55.62	0.31%	49.68	89.32%	5.94	5.77	0.16	49.49	1.56%	43.44	87.78%	6.05	5.54	0.51	908	85.46	70.99	9.77	1.19	0.05	0.02	5.75	0.22	24.65	6.89	23.01	11.52	16.93	75.11	13.13	2.63	0.11	0.08	9.35	0.8	5.76	13.28	0	16.33	38.52	3930	-2.79%	257149447	-2.87%	2.8%	333	8.5%	7	48	3597	91.5%	5	719	-15.63	3.65%	4.96	-9.49%	-51.02	48.40%	39.56	48.39%	66.80%	1.39%	3.68	-27.42%	5.34	-33.83%	3.6	-43.57%	6.34	-53.82%	4.75	-16.52%	6.33	-19.16%
5	2019-12-21	nep-no-10-sep	NEP 2035	separation to Büttel and WHV	None	9072309170	-5.21%	55.45	0.00%	49.68	89.59%	5.76	5.67	0.09	49.04	0.64%	43.44	88.58%	5.6	5.33	0.28	597	84.33	70.86	9.7	1.08	0.05	0.02	5.39	0.22	24.71	6.91	23.48	11.51	16.94	74.62	12.95	2.44	0.13	0.08	8.95	0.81	5.84	13.46	0	16.39	38.94	2151	-46.80%	140801821	-46.82%	1.6%	335	15.6%	6	56	1815	84.4%	5	363	-8.59	-43.04%	2.97	-45.80%	-58.21	69.31%	44.68	67.59%	71.33%	1.20%	3.82	-24.65%	5.68	-29.62%	3.92	-38.56%	7.27	-47.05%	4.86	-14.59%	6.54	-16.48%
6	2020-01-03	nep-no-real	NEP 2035	Switch connection as in data model	(BE also in)	8611932761	-10.02%	53.85	-2.89%	49.02	91.03%	4.83	4.77	0.06	47.45	-2.63%	42.46	89.48%	4.99	4.79	0.2	663	80.81	70.63	6.3	1.19	0.1	0.02	6.61	0.19	31.58	6.37	22.1	10.56	14.97	68.63	9.28	3.45	0.37	0.08	11.22	0.85	6.12	13.93	0	15.42	39.24	1537	-61.98%	100671504	-61.98%	1.2%	400	26.0%	5	80	1136	73.9%	4	284	-6.61	-56.17%	2.45	-55.29%	-48.82	42.00%	37.05	38.97%	71.26%	0.89%	7.58	49.51%	9.88	22.43%	8.07	26.49%	16.37	19.23%	9.46	66.26%	9.75	24.52%
7	2019-12-23	nep-20	NEP 2035	20 GW at proper buses	None	9626696752	0.58%	55.87	0.76%	49.76	89.06%	6.12	5.86	0.25	50.13	2.87%	43.67	87.11%	6.46	5.67	0.79	1161	85.74	71.13	9.93	1.22	0.06	0.02	5.86	0.22	24.6	6.85	22.86	11.72	16.66	74.85	12.99	3.18	0.2	0.08	9.3	0.8	5.72	13.1	0	17.09	37.52	6121	51.40%	400710917	51.35%	4.2%	885	14.5%	10	89	5237	85.6%	8	655	-25.3	67.77%	8.12	48.18%	-35.95	4.57%	27.87	4.54%	58.76%	1.58%	6.1	20.32%	9.81	21.56%	8.63	35.27%	17.49	27.39%	6.05	6.33%	8.46	8.05%
8	2019-12-24	nep-offego	NEP 2035	same numbers as ego	None	9007928762	-5.88%	56.24	1.42%	50.51	89.81%	5.72	5.47	0.25	51.8	6.30%	46.02	88.84%	5.78	5	0.78	881	86.61	71.14	8.96	1.04	0.03	0.02	5.59	0.22	24.6	6.85	23.33	12.72	16.64	76.92	11.46	2.29	0.08	0.08	8.79	0.79	5.67	13.01	0	20.62	37.18	6028	49.10%	394510520	49.01%	4.4%	536	8.9%	5	107	5493	91.1%	7	785	-25.92	71.88%	8.12	48.18%	-33.83	-1.60%	26.19	-1.76%	57.42%	1.59%	8.02	58.19%	12.63	56.51%	13.33	108.93%	24.26	76.69%	6.18	8.61%	8.37	6.90%
references	references
9	2019-10-26	sq	Status Quo	None	None	7229113026	-	52.02	-	47.43	91.18%	4.59	4.59	0	47.14		42.06	89.22%	5.09	5.09	0	192	88.41	37.37%	0.05	4.83	0.01	0.02	17.85	0.21	24.62	2.97	40.05	1.46	7.9	31.78%	0.08	5.75	0.01	0.08	35.07	0.76	4.96	8.28	23.22	3.37	18.43	0	-	0			0		0		0		0		0		0		-25.92		20.17		77.84%	0.36%	1.52	-	2.18	-	0.03	-	0	-	2.14	-	3.19	-
10	2019-12-17	sq-100	Status Quo	K = 100	None	7032324326	-2.72%	51.9	-0.23%	47.43	91.39%	4.47	4.47	0	46.46	-1.44%	41.73	89.82%	4.73	4.73	0	13	85.78	37.54%	0.02	4.17	0	0.02	17.17	0.21	24.62	2.98	41.24	1.46	8.07	31.91%	0	4.56	0	0.08	34.38	0.77	5.05	8.5	23.86	3.43	19.37	0	#DIV/0!	0	0.0%	0.0%	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0		0		-26.01	0.35%	20.25	0.40%	77.85%	0.36%	0.03	-98.0%	0.04	-98.2%	0.12	300.0%	0.12	#DIV/0!	0.03	-98.6%	0.03	-99.1%
11	2019-12-17	sq-200	Status Quo	K = 200	None	7074395520	-2.14%	51.92	-0.19%	47.43	91.35%	4.49	4.49	0	46.77	-0.78%	42.06	89.93%	4.72	4.72	0	42	86.28	37.51%	0.03	4.21	0	0.02	17.41	0.21	24.62	2.97	40.99	1.46	8.04	32.20%	0.01	4.23	0	0.08	34.26	0.78	5.09	8.51	24.2	3.46	19.39	0	#DIV/0!	0	0.0%	0.0%	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0		0		-28.46	9.80%	22.15	9.82%	77.84%	0.40%	0.33	-78.3%	0.46	-78.9%	0.03	0.0%	0	#DIV/0!	0.38	-82.2%	0.57	-82.1%
12	2019-12-16	sq-300	Status Quo	K = 300	None	7109956882	-1.65%	51.94	-0.15%	47.43	91.32%	4.52	4.52	0	47.01	-0.28%	42.06	89.47%	4.96	4.96	0	76	88.15	37.46%	0.03	4.28	0	0.02	17.65	0.21	24.62	2.97	40.73	1.46	7.99	32.07%	0.03	4.7	0	0.08	35.2	0.76	4.98	8.33	23.71	3.38	18.82	0	#DIV/0!	0	0.0%	0.0%	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0		0		-28.51	9.99%	22.21	10.11%	77.89%	0.40%	0.7	-53.9%	1	-54.1%	0.01	-66.7%	0	#DIV/0!	0.95	-55.6%	1.42	-55.5%
13	2019-12-16	sq-400	Status Quo	K = 400	None	7194410522	-0.48%	52	-0.04%	47.43	91.21%	4.57	4.57	0	46.83	-0.66%	42.06	89.81%	4.78	4.78	0	99	86.44	37.39%	0.04	4.31	0	0.02	18.37	0.21	24.61	2.96	40.06	1.46	7.92	31.84%	0.07	3.99	0	0.08	34.99	0.78	5.07	8.46	24.18	3.45	18.92	0	#DIV/0!	0	0.0%	0.0%	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0		0		-28.99	11.84%	22.58	11.95%	77.90%	0.41%	1.38	-9.2%	1.97	-9.6%	0.01	-66.7%	0	#DIV/0!	1.89	-11.7%	2.82	-11.6%
14	2019-12-23	sq-600	Status Quo	K = 600	None	7351265439	1.69%	52.1	0.15%	47.43	91.04%	4.67	4.67	0	47.15	0.02%	42.06	89.20%	5.09	5.09	0	141	87.69	37.53%	0.16	4.7	0.13	0.02	18.45	0.21	24.62	2.95	39.31	1.46	7.96	32.26%	0.46	5.01	0.44	0.08	34.36	0.77	4.99	8.31	23.38	3.4	18.79	0	#DIV/0!	0	0.0%	0.0%	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0	#DIV/0!	0		0		-27.36	5.56%	21.3	5.60%	77.85%	0.38%	1.14	-25.0%	1.63	-25.2%	0.03	0.0%	0.03	#DIV/0!	1.4	-34.6%	2.1	-34.2%